## Project
Field | Value
Project_Name | Structured Cabling – Office Floor (Portfolio Demo)
Client | New (demo) Client LLC
Location | Dubai, UAE
Currency | AED
Floor_Area_sqm | 800
Workstations | 40
Ports_per_Workstation | 2
Meeting_Rooms | 3
Ports_per_MeetingRoom | 2
WiFi_APs | 5
Printers | 2
CCTV | 8
Average cable run, in metres | 30 | avg cable length needed per port
Slack percentage | 10 | extra length of cable left at both ends
Wastage percentage | 5
Spare_ports_pct | 5 | for expansion in future
Technician rate_AED_per_hr | 45
Supervisor_rate_AED_per_hr | 70
Hours_per_port_install | 0.7
Hours_per_port_terminating and testing | 0.4
Supervisor_hours | 18
Cost of testing each port with cert_tools | 8
Overhead_pct | 10
Contingency_pct | 5
Profit_pct | 12

## 01_Materials
Item | Category | Qty | Unit | VendorAUnitPrice | VendorBUnitPrice | VendorCUnitPrice | Best_UnitPrice | Chosen_Vendor | Line_Total
Cat6 UTP Cable 305m Box | Cabling | 13 | Box | 350 | 365 | 340 | 340 | Vendor C | 4420
Keystone Jack Cat6 | Termination | 107 | Each | 6 | 5.8 | 6.5 | 5.8 | Vendor B | 620.6
Faceplate Single | Termination | 43 | Each | 5 | 5.2 | 4.9 | 4.9 | Vendor C | 210.7
Faceplate Double | Termination | 33 | Each | 7.5 | 7.2 | 7.8 | 7.2 | Vendor B | 237.6
Back Box | Pathways & Fittings | 76 | Each | 4 | 3.8 | 4.3 | 3.8 | Vendor B | 288.8
Patch Panel 24-Port | Rack & Patch | 5 | Each | 120 | 118 | 125 | 118 | Vendor B | 590
27U Rack | Rack & Patch | 1 | Each | 900 | 875 | 920 | 875 | Vendor B | 875
Cable Manager 1U | Rack & Patch | 5 | Each | 25 | 24 | 27 | 24 | Vendor B | 120 | optional
Patch Cord 1m (User) | Rack & Patch | 107 | Each | 5 | 5.2 | 4.8 | 4.8 | Vendor C | 513.6
Patch Cord 2m (Rack) | Rack & Patch | 107 | Each | 7 | 7.2 | 6.8 | 6.8 | Vendor C | 727.6
Trunking (m) | Pathways & Fittings | 160 | Meter | 6 | 5.8 | 6.2 | 5.8 | Vendor B | 928 | optional for false ceiling
Conduit (m) | Pathways & Fittings | 120 | Meter | 3.5 | 3.7 | 3.4 | 3.4 | Vendor C | 408
PDU 6-way | Rack & Patch | 2 | Each | 65 | 62 | 68 | 62 | Vendor B | 124
Rack Shelf | Rack & Patch | 1 | Each | 85 | 80 | 90 | 80 | Vendor B | 80 | optional
Rack Fan Unit | Rack & Patch | 1 | Each | 120 | 118 | 122 | 118 | Vendor B | 118 | optional
Earth Bonding Kit | Accessories | 1 | Each | 35 | 34 | 36 | 34 | Vendor B | 34
Cable Tie Pack | Accessories | 8 | Pack | 12 | 10 | 12 | 10 | Vendor B | 80
Labeling (Lump Sum) | Accessories | 1 | Lot | 150 | 150 | 150 | 150 | Vendor A | 150
Consumables (Lump Sum) | Accessories | 1 | Lot | 300 | 300 | 300 | 300 | Vendor A | 300

## 02_Labor
Labor_Item | Hours_or_Qty | Rate_AED | Line_Total
Technician Labor | 117.7 | 45 | 5296.5
Supervisor Oversight | 18 | 70 | 1260
Testing/Certification | 107 | 8 | 856

## 03_Summary
Metric | Value
Ports (with spares) | 107
Total cable (m) | 3708
Materials total (AED) | 10833.9
Labor total (AED) | 7412.5
Direct cost (AED) | 18246.4
Overhead 10% (AED) | 1824.64
Contingency 5% (AED) | 1003.55
Subtotal before profit (AED) | 21074.59
Profit 12% (AED) | 2528.95
Grand total (AED) | 23603.54
Unit cost per port (AED) | 220.59

## 04_CostByCategory
Category | Materials_Cost
Accessories | 572
Cabling | 4420
Pathways & Fittings | 1624.8
Rack & Patch | 3148.2
Termination | 1068.9

## 05_VendorSplit
Chosen_Vendor | Items_Selected
Vendor A | 2
Vendor B | 12
Vendor C | 5

## 06_Dashboard
ELV / ICT Estimation – Dashboard (Portfolio Demo)
Key Figures
Metric | Value
Ports (with spares) | 107
Total cable (m) | 3708
Materials total (AED) | 10833.9
Labor total (AED) | 7412.5
Grand total (AED) | 23603.54
Unit cost per port (AED) | 220.59